## Slide 1: ISEC Lecture 8 Organizational Security
Ref: Textbook Chap 14 - Business Continuity

## Slide 2: Objectives
14.1 Define business continuity
14.2 Describe how to achieve fault tolerance through redundancy
14.3 Explain different environmental controls
14.4 Describe forensics and incident response procedures

## Slide 3: What is Business Continuity?
Business Continuity
  An organization’s ability to maintain operations after a disruptive event
Business continuity preparedness involves:
  Business continuity planning
  Business impact analysis
  Disaster recovery planning

## Slide 4: Business Continuity Planning (B C P)
B C P is the process of:
  Identifying exposure to threats
  Creating preventative and recovery procedures
  Testing them to determine if they are sufficient
B C P consists of three essential elements:
  Business recovery planning
  Crisis management and communications
  Disaster recovery

## Slide 5: Business Impact Analysis (B I A) (1 of 2)
B I A - identifies business functions and quantifies the impact a loss of these functions may have on business operations
These range from:
  Impact on property (tangible assets)
  Impact on finance (monetary funding)
  Impact on safety (physical protection)
  Impact on reputation (status)
  Impact on life (wellbeing)
A B I A will help determine the mission-essential function
  Activity that serves as the core purpose of the enterprise

## Slide 6: Business Impact Analysis (B I A) (2 of 2)
A B I A can also help in the identification of critical system
  That support the mission-essential function
Identifying a single point of failure
  Which is a component or entity in a system which will disable the entire system, should it no longer function
  Minimizing these single failure points results in high availability
Many B I A s also contain a privacy impact assessment
  Used to identify and mitigate privacy risks
Privacy threshold assessment
  Can determine if a system contains personally identifiable information (P I I)

## Slide 7: Disaster Recovery Plan (D R P) (1 of 5)
Disaster recovery plan (D R P)
  Focuses on protecting and restoring information technology functions
Written document detailing process for restoring I T resources:
  Following a disruptive event
Comprehensive in scope
  Intended to be a detailed document that is updated regularly
Most D R P s:
  Have a common set of features
  Cover specific topics
  Require testing for verification

## Slide 8: Disaster Recovery Plan (D R P) (2 of 5)
Features
Typical outline of a D R P:
  Unit 1: Purpose and Scope
  Unit 2: Recovery Team
  Unit 3: Preparing for a Disaster
  Unit 4: Emergency Procedures
  Unit 5: Restoration Procedures

## Slide 9: Disaster Recovery Plan (D R P) (3 of 5)
Topics
  Sequence in restoring systems (order of restoration)
    Which systems should have priority and be restored before other systems?
  What should be done if a disaster makes the current location for processing data no longer available
    An alternative processing site must be identified
    Failback – the process of resynchronizing data back to the primary location

## Slide 10: Disaster Recovery Plan (D R P) (4 of 5)
Testing
Disaster exercises are designed to test the effectiveness of the D R P
Disaster exercise objectives
  Test efficiency of interdepartmental planning and coordination in managing a disaster
  Test current D R P procedures
  Determine response strengths and weaknesses
Tabletop exercises
  Simulate an emergency situation but in an informal and stress-free environment
An after-action report should be generated
  To analyze the exercise results to identify strengths to be maintained and weaknesses to improve upon

## Slide 11: Disaster Recovery Plan (D R P) (5 of 5)
Feature | Description
Participants | Individuals on a decision-making level
Focus | Training and familiarizing roles, procedures, and responsibilities
Setting | Informal
Format | Discussion guided by a facilitator
Purpose | Identify and solve problems as a group
Commitment | Only moderate amount of time, cost, and resources
Advantage | Can acquaint key personnel with emergency responsibilities, procedures, and other members
Disadvantage | Lack of realism; does not provide a true test

## Slide 12: Fault Tolerance Through Redundancy
Fault tolerance
  Refers to a system’s ability to deal with malfunctions
The solution to fault tolerance is to build in redundancy
  Which is the use of duplicated equipment to improve the availability of a system
  A goal is to reduce a variable known as the mean time to recovery (M T T R)
    The average amount of time that it will take a device to recover from a failure that is not a terminal failure
Redundancy planning
  Applies to servers, storage, networks, power, sites, and data

## Slide 13: Servers (1 of 3)
Servers
  Play a key role in network infrastructure
  Failure can have significant business impact
Clustering
  Combining two or more devices to appear as a single unit
Server cluster
  Multiple servers that appear as a single server
  Connected through public and private cluster connections
Types of server clusters
  Asymmetric
  Symmetric

## Slide 14: Servers (2 of 3)
In an asymmetric server cluster, a standby server performs no function except to be ready if needed
  Used for databases, messaging systems, file and print services
All servers do useful work in a symmetric server cluster
  If one server fails, remaining servers take on failed server’s work
  More cost effective than asymmetric clusters
  Used for Web, media, and V P N servers

## Slide 15: Servers (3 of 3)

## Slide 16: Storage (1 of 6)
Storage - a trend in data storage is to use solid-state drives (S S Ds)
  S S Ds are more resistant to failure and are considered more reliable than traditional H D Ds
  H D D s are often the first components to fail
  Some organizations keep spare hard drives on hand
Mean time between failures (M T B F)
  Measures average time until a component fails and must be replaced
  Can be used to determine number of spare hard drives an organization should keep

## Slide 17: Storage (2 of 6)
Redundant Array of Independent Devices (R A I D)
  Uses multiple hard disk drives to increase reliability and performance
  Can be implemented through software or hardware
  Several levels of R A I D exist
R A I D Level 0 (striped disk array without fault tolerance)
  Striping partitions hard drive into smaller sections
  Data written to the stripes is alternated across the drives
  If one drive fails, all data on that drive is lost

## Slide 18: Storage (3 of 6)
RAID Level 1 (mirroring)
  Disk mirroring used to connect multiple drives to the same disk controller card
  Action on primary drive is duplicated on other drive
  Primary drive can fail and data will not be lost
Disk duplexing
  Variation of RAID Level 1
  Separate cards used for each disk
  Protects against controller card failures

## Slide 19: Storage (4 of 6)
RAID Level 5 (independent disks with distributed parity)
  Distributes parity (error checking) across all drives
  Data stored on one drive and its parity information stored on another drive

## Slide 20: Storage (5 of 6)
RAID 0+1 (high data transfer)
  Nested-level R A I D
  Mirrored array whose segments are RAID 0 arrays
  Can achieve high data transfer rates

## Slide 21: Storage (6 of 6)
RAID level | Description | Min number of drives needed | Typical application | Advantages | Disadvantages
RAID 0 | Uses a striped disk array so that data is broken down into block and each block is written to a separate disk drive | 2 | Video production and editing | Simple design, easy to implement | Not fault-tolerant
RAID 1 | Data written twice to separate drives | 2 | Financial | Simplest RAID to implement | Can slow down system if RAID controlling software is used instead of hardware
RAID 5 | Each data block is written on a data disk and parity for blocks in the same rank is generated and recorded on a separate disk | 3 | Database | Most versatile RAID | Can be difficult to rebuild if a disk fails
RAID 0+1 | A mirrored array with segments that are RAID 0 arrays | 4 | Imaging applications | High input/output rates | Expensive

## Slide 22: Networks
Redundant networks
  May be necessary due to critical nature of connectivity today
  Wait in the background during normal operations
  Use a replication scheme to keep live network information current
  Launch automatically in the event of a disaster
  Hardware components are duplicated
  Some organizations contract with a second Internet service provider as a backup
Software defined networks (S D N s)
  S D N controller can increase network reliability and may lessen the need for redundant equipment

## Slide 23: Power (1 of 2)
Maintaining power is essential when planning for redundancy
Uninterruptible power supply (U P S)
  Maintains power to equipment in the event of an interruption in primary electrical power source
Off-line U P S
  Least expensive, simplest solution
  Charged by main power supply
  Begins supplying power quickly when primary power is interrupted
  Switches back to standby mode when primary power is restored

## Slide 24: Power (2 of 2)
On-line U P S
  Always running off its battery while main power runs battery charger
  Not affected by dips or sags in voltage
  Can serve as a surge protector
U P S systems can communicate with the network operating system to ensure orderly shutdown occurs
  But, can only supply power for a limited time
Backup generator
  Powered by diesel, natural gas, or propane

## Slide 25: Recovery Sites (1 of 3)
Recovery Sites
  Backup sites may be necessary if flood, hurricane, or other major disaster damages buildings
  Three types of redundant sites: hot, cold, and warm
Hot site
  Generally run by a commercial disaster recovery service
  Duplicate of the production site
  Has all needed equipment
  Data backups can be moved quickly to the hot site

## Slide 26: Recovery Sites (2 of 3)
Cold site
  Provides office space
  Customer must provide and install all equipment needed to continue operations
  No backups immediately available
  Less expensive than a hot site
  Takes longer to resume full operation

## Slide 27: Recovery Sites (3 of 3)
Warm site
  All equipment is installed
  No active Internet or telecommunications facilities
  No current data backups
  Less expensive than a hot site
  Time to turn on connections and install backups can be half a day or more
A growing trend is to use cloud computing in conjunction with sites
  Back up applications and data to the cloud
  If a disaster occurs, restore it to hardware in a hot, cold, or warm site

## Slide 28: Data (1 of 5)
Data backup – copying information to a different medium and storing it at an off-site location
  So that it can be used in the event of a disaster
Backing up data involves:
  Data backup calculations
  Using different types of data backups
  Off-site backups

## Slide 29: Data (2 of 5)
Two elements are used in the calculation of when backups should be performed:
Recovery point objective (R P O)
  Maximum length of time organization can tolerate between backups
Recovery time objective (R T O)
  Length of time it will take to recover backed up data

## Slide 30: Data (3 of 5)
Types of Data Backups
Type of backup | How used | Archive bit after backup | Files needed for recovery
Full backup | Starting point for all backups | Cleared (set to 0) | The full backup is needed
Differential backup | Backs up any data that has changed since last full backup | Not cleared (set to 1) | The full backup and only last differential backup are needed
Incremental backup | Backs up any data that has changed since last full backup or last incremental backup | Cleared (set to 0) | The full backup and all incremental backups are needed

## Slide 31: Data (4 of 5)

## Slide 32: Data (5 of 5)
Types of Data Backups (continued)
  A more comprehensive backup technology is known as continuous data protection (C D P)
    Performs continuous backups that can be restored immediately
    Maintains a historical record of all changes made to data
    Creates a snapshot of the data (like a reference marker)

## Slide 33: Off-Site Backups (1 of 2)
3-2-1 backup plan
  Should always be three different copies of backups on at least two different types of storage media and one of the backups should be stored at a different location (off-site backup)
Most organizations store their off-site backups using an online cloud repository
  These sites often use C D P to continually backup data
There are several Internet services that provide similar features to these:
  Automatic continuous backup
  Universal access
  Delayed deletion
  Online or media-based restore

## Slide 34: Off-Site Backups (2 of 2)
There are legal implications of off-site backups
  The primary issue involves data sovereignty
    Data stored in digital format is subject to the laws of the country in which the storage facility resides
Organizations should identify a cloud services provider whose data center locations ensure that it fully complies with all applicable data sovereignty laws

## Slide 35: Environmental Controls
Methods to prevent disruption through environmental controls
  Fire suppression
  Electromagnetic disruption protection
  Proper configuration of H V A C systems

## Slide 36: Fire Suppression (1 of 2)
Fire suppression includes the attempts to reduce the impact of a fire
Requirements for a fire to occur
  A type of fuel or combustible material
  Sufficient oxygen to sustain combustion
  Enough heat to raise material to its ignition temperature
  Chemical reaction: fire itself
In a server closet or room that contains computer equipment
  A stationary fire suppression system is recommended

## Slide 37: Fire Suppression (2 of 2)

## Slide 38
Table 13-10 Stationary fire suppression systems (continues)

## Slide 39
Table 13-10 Stationary fire suppression systems (cont’d.)

## Slide 40: Electromagnetic Disruption Protection
Electromagnetic interference (E M I)
  Caused by a short-duration burst of energy by the source called an electromagnetic pulse (E M P)
Electromagnetic compatibility (E M C)
  Reducing or eliminating the unintentional generation, spread, and reception of electromagnetic energy
  The goal of E M C is the correct operation of different types of equipment that function in the same electromagnetic environment

## Slide 41: H V A C
Data centers have special cooling requirements
  More cooling necessary due to large number of systems generating heat in confined area
  Precise cooling needed
Heating, ventilating, and air conditioning (H V A C) systems
  Maintain temperature and relative humidity at required levels
Controlling environmental factors can reduce electrostatic discharge
Hot aisle/cold aisle layout
  Used to reduce heat by managing air flow
  Servers lined up in alternating rows with cold air intakes facing one direction and hot air exhausts facing other direction

## Slide 42: Incident Response
When an unauthorized incident occurs:
  An immediate response is required
Incident response
  Involves using forensics and following proper incident response procedures

## Slide 43: What is Forensics?
Forensic Science
  Applying science to legal questions
    Analyzing evidence and can be applied to technology
  Computer forensics
    Uses technology to search for computer evidence of a crime
Importance of computer forensics is due to the following:
  Amount of digital evidence
  Increased scrutiny by the legal profession
  Higher level of computer skill by criminals

## Slide 44: Incident Response Plan (1 of 2)
Incident response plan (I R P)
  A set of written instructions for reacting to a security incident
Incident response process – six action steps to be taken when an incident occurs:
  Preparation
  Identification
  Containment
  Eradication
  Recovery
  Lessons learned

## Slide 45: Incident Response Plan (2 of 2)
At a minimum, an I R P should contain the following:
  Documented incident definitions
  Cyber-incident response teams
  Reporting requirements/escalation
  Exercises

## Slide 46: Forensic Procedures
Five basic steps:
  Secure the crime scene
  Preserve the evidence
  Establish a chain of custody
  Examine the evidence
  Enable recovery

## Slide 47: Secure the Crime Scene (1 of 2)
When an illegal or unauthorized incident occurs, action must be taken immediately
Individuals in the immediate vicinity should perform damage control:
  Report the incident to security or police
  Confront any suspects (if situation allows)
  Neutralize the suspected perpetrator from harming others
  Secure physical security features
  Quarantine electronic equipment
  Contact the cyber-incident response team

## Slide 48: Secure the Crime Scene (2 of 2)
After the response team arrives, the first job is to secure the crime scene, which includes:
  Physical surroundings documented
  Photographs taken before anything is touched
  Computer cables labeled
  Team takes custody of entire computer
  Team interviews witnesses
  Length of time passed since the initial incident should be noted

## Slide 49: Preserve the Evidence (1 of 3)
Preservation of the evidence
  Ensuring that important proof is not destroyed
Digital evidence is very fragile
  Can be easily altered or destroyed
One of the first steps is for a legal hold to be issued
  A notification sent from the legal team to employees instructing them not to delete electronically stored or paper documents relative to the incident
Cyber-incident response team captures volatile data
  Examples: contents of RAM, current network connections, logon sessions, network traffic and logs, any open files
Order of volatility must be followed to preserve most fragile data first

## Slide 50: Preserve the Evidence (2 of 3)
Location of data | Sequence to be retrieved
Register, cache, peripheral memory | First
Random access memory (RAM) | Second
Network state | Third
Running processes | Fourth

## Slide 51: Preserve the Evidence (3 of 3)
Use tools that allow capturing the system image
  A snapshot of the current state of the computer that contains all current settings and data
  Capture the current image on the screen by taking a screenshot
Mirror image backup of the hard drive (also called a bit-stream backup)
  Meets evidence standards
  To guarantee accuracy, mirror image backup programs rely upon hashing algorithms as part of the validation process

## Slide 52: Establish the Chain of Custody
Chain of custody
  Documents that the evidence was maintained under strict control at all times
  No unauthorized person was given opportunity to corrupt the evidence

## Slide 53: Examine for Evidence
After a computer forensics expert creates a mirror image of a system, the original system is secured and the mirror image is examined to reveal evidence
Includes searching:
  Word documents, email files, spreadsheets, cache and cookies of the web browser
Hidden clues also can be exposed by examining
  RAM slack, drive slack, and metadata (data about data)

## Slide 54: Examine for Evidence

## Slide 55: Enable Recovery
Strategic intelligence
  The collection, processing, analysis, and dissemination of intelligence for forming policy changes
Strategic counterintelligence
  Involves gaining information about the attacker’s intelligence collection capabilities
Active logging
  Maintaining active logs regarding the reconnaissance activities conducted by the attacker

## Slide 56: Chapter Summary (1 of 3)
Business continuity is an organization’s ability to maintain its operations after a disruptive event
In I T contingency planning, an outline of procedures that are to be followed in the event of a major I T incident is developed
Disaster recovery
  Focuses on restoring information technology functions
  Disaster recovery plan (D R P) details restoration process
A server cluster combines two or more servers that are interconnected to appear as one
R A I D uses multiple hard disk drives for redundancy

## Slide 57: Chapter Summary (2 of 3)
Network components can be duplicated to provide a redundant network
Data backup
  Copying information to a different medium and storing (preferably offsite) for use in event of a disaster
Recovery point objective and recovery time objective help an organization determine backup frequency
Fire suppression systems include water, dry chemical, and clean agent systems

## Slide 58: Chapter Summary (3 of 3)
A defense for shielding an electromagnetic field is a Faraday cage
The control and maintenance of H V A C systems are important for data centers
Forensic science is the application of science to questions that are of interest to the legal profession
An incident response plan (I R P) is a set of written instructions for reacting to a security incident